**NH-CR 0014(185)229/COP Utilities**

**Euclid Avenue Reconstruction**

**Weekly Contractor Meeting Agenda – 10/01/2025**

**AGC Building**

**300 E. Capitol AVE**

**Pierre SD, 57501**

**Prior Week Review**

* Work Review:
* Completed Tasks:
	+ Phase 1D
		- Storm Drain to Pleasant
		- Water and sewer connections
	+ Phase 2B/C
		- Signals
		- Asphalt
* Wynoka
	+ Utility lowered
	+ Junction installed
* Traffic Control Review:
* All Phase
* Safety Review:
* Safety Concerns**?**
* Two Week Look Ahead2 Week Schedule:
* Phase 1D/E
	+ Storm drain in Pleasant Ave installed by 10/03
	+ Storm drain from intersection to Music Store
	+ Begin undercut
		- * + Phase 2B/C/D

Traffic Markings

Cleanup/landscape work

* Utility Relocation:
* MDU
* Wynoka
	+ Continue RCP installation
	+ Sidewalk replacement
* Traffic Control
	+ Signals are up at Capitol
	+ Markings planned for 10/06 from Pleasant to Prospect
* Possible Issues, Discuss:

**SAFETY:**

Reminder- Keep safety as top priority. This includes housekeeping, safe equipment operation and making sure pedestrians have a safe route.

**QUESTIONS/COMMENTS:**